## Anonymization tags shanoir old
Tag | Description | value | comment
0x00100020 | Patient ID
0x00100010 | Patient's Name | Anonymous | will be replaced by the common name introduced by the user in shanoir interface
0x00100030 | Patient's Birth Date | Keep only the birth year | will be replaced by the 01/01 of the same year
0x00100032 | Patient's Birth Time
0x00101000 | Other Patient Ids
0x00101001 | Other Patient Names
0x00102160 | Ethnic Group
0x00102180 | Occupation
0x001021B0 | Additional Patient History
0x00104000 | Patient Comments
0x00101040 | Patient's Address

## Anonymization tags ShUp
Legend:
Tag anonymized in shanoir and ShUp
Tag anonymized in ShUp but not in Shanoir
Tag anonymized in ShUp but it was mentioned in Justine doc that it should be kept
Tags:
# (0000,1000) VR=UI, VM=1 Affected SOP Instance UID, type=
0x00001000=
# (0002,0002) VR=UI, VM=1 MediaStorageSOPClassUID, type=
0x00020002=
# (0008,0023) VR=DA, VM=1 Content Date, type=
0x00080023=
# (0008,0024) VR=DA, VM=1 Overlay Date, type=
0x00080024=
# (0008,0025) VR=DA, VM=1 Curve Date, type=
0x00080025=
# (0008,002A) VR=DT, VM=1 Acquisition DateTime, type=
0x0008002A=
# (0008,0030) VR=TM, VM=1 Study Time, type=
0x00080030=
# (0008,0033) VR=TM, VM=1 Content Time, type=
0x00080033=
# (0008,0034) VR=TM, VM=1 Overlay Time, type=
0x00080034=
# (0008,0035) VR=TM, VM=1 Curve Time, type=
0x00080035=
# (0008,0050) VR=SH, VM= Accession Number, type=
0x00080050=
# (0008,0080) VR=LO, VM= InstitutionName, type=
0x00080080=
# (0008,0081) VR=ST, VM= InstitutionAddress, type=
0x00080081=
# (0008,0082) VR=SQ, VM= InstitutionCodeSequence, type=
0x00080082=
# (0008,0092) VR=ST, VM= ReferringPhysicianAddress, type=
0x00080092=
# (0008,0094) VR=SH, VM= ReferringPhysicianTelephoneNumber, type=
0x00080094=
# (0008,0096) VR=SQ, VM= ReferringPhysicianIDSequence, type=
0x00080096=
# (0008,0201) VR=SH, VM= Timezone Offset From UTC, type=
0x00080201=
# (0008,1030) VR=LO, VM= Study Description, type=
0x00081030=
# (0008,1040) VR=LO, VM= Institutional Department Name, type=
0x00081040=
# (0008,1048) VR=PN, VM= Physician(s) of Record, type=
0x00081048=
# (0008,1049) VR=SQ, VM= Physician(s) of Record Identification Sequence, type=
0x00081049=
# (0008,1050) VR=PN, VM= Performing Physicians' Name, type=
0x00081050=
# (0008,1052) VR=SQ, VM= Performing Physicians' Identification Sequence, type=
0x00081052=
# (0008,1060) VR=PN, VM= Name of Physician(s) Reading Study, type=
0x00081060=
# (0008,1062) VR=SQ, VM= Physician Reading Study Identification Sequence, type=
0x00081062=
# (0008,1070) VR=PN, VM= Operators' Name, type=
0x00081070=
# (0008,1072) VR=SQ, VM= Operators' Identification Sequence, type=
0x00081072=
# (0008,1080) VR=LO, VM= Admitting Diagnoses Description, type=
0x00081080=
# (0008,1084) VR=SQ, VM= Admitting Diagnoses Code Sequence, type=
0x00081084=
# (0008,1110) VR=SQ, VM= Referenced Study Sequence, type=
0x00081110=
# (0008,1111) VR=SQ, VM= Referenced Performed Procedure Step Sequence, type=
0x00081111=
# (0008,1120) VR=SQ, VM= Referenced Patient Sequence, type=
0x00081120=
# (0008,1140) VR=SQ, VM= Referenced Image Sequence, type=
0x00081140=
# (0008,2111) VR=ST, VM= Derivation Description, type=
0x00082111=
# (0008,2112) VR=SQ, VM= Source Image Sequence, type=
0x00082112=
# (0008,4000) VR=LT, VM= Identifying Comments, type=
0x00084000=
# (0010,0010) VR=PN, VM=1 PatientName, type=2
0x00100010=
# (0010,0020) VR=LO, VM=1 PatientID, type=
0x00100020=
# (0010,0021) VR=LO, VM= IssuerOfPatientID, type=
0x00100021=
# (0010,0022) VR=CS, VM=1 TypeOfPatientID, type=
0x00100022=
# (0010,0030) VR=DA, VM=1 Patient's Birth Date, type=2
0x00100030=
# (0010,0032) VR=TM, VM=1 PatientBirthTime, type=3
0x00100032=
# (0010,0050) VR=SQ, VM= PatientInsurancePlanCodeSequence, type=
0x00100050=
# (0010,0101) VR=SQ, VM= PatientPrimaryLanguageCodeSeq, type=
0x00100101=
# (0010,0102) VR=SQ, VM= PatientPrimaryLanguageCodeModSeq, type=
0x00100102=
# (0010,1000) VR=LO, VM=1-n OtherPatientIDs, type=3
0x00101000=
# (0010,1001) VR=PN, VM=1-n OtherPatientNames, type=3
0x00101001=
# (0010,1002) VR=SQ, VM= OtherPatientIDsSequence, type=
0x00101002=
# (0010,1005) VR=PN, VM= Patient Birth Name, type=
0x00101005=
# (0010,1010) VR=AS, VM= PatientAge, type=
0x00101010=
# (0010,1020) VR=DS, VM= PatientSize, type=
0x00101020=
# (0010,1040) VR=LO, VM=1 PatientAddress, type=3
0x00101040=
# (0010,1050) VR=LO, VM= InsurancePlanIdentification, type=
0x00101050=
# (0010,1060) VR=PN, VM= PatientMotherBirthName, type=
0x00101060=
# (0010,1080) VR=LO, VM= MilitaryRank, type=
0x00101080=
# (0010,1081) VR=LO, VM= BranchOfService, type=
0x00101081=
# (0010,1090) VR=LO, VM= MedicalRecordLocator, type=
0x00101090=
# (0010,2000) VR=LO, VM= MedicalAlerts, type=
0x00102000=
# (0010,2110) VR=LO, VM= Allergies, type=
0x00102110=
# (0010,2150) VR=LO, VM= CountryOfResidence, type=
0x00102150=
# (0010,2152) VR=LO, VM= RegionOfResidence, type=
0x00102152=
# (0010,2154) VR=SH, VM= PatientTelephoneNumbers, type=
0x00102154=
# (0010,2160) VR=SH, VM=1 EthnicGroup, type=3
0x00102160=
# (0010,2180) VR=SH, VM=1 Occupation, type=3
0x00102180=
# (0010,21A0) VR=CS, VM= SmokingStatus, type=
0x001021A0=
# (0010,21B0) VR=LT, VM=1 AdditionalPatientHistory, type=3
0x001021B0=
# (0010,21C0) VR=US, VM= PregnancyStatus, type=
0x001021C0=
# (0010,21D0) VR=DA, VM=1 LastMenstrualDate, type=
0x001021D0=
# (0010,21F0) VR=LO, VM= PatientReligiousPreference, type=
0x001021F0=
# (0010,2297) VR=PN, VM= ResponsiblePerson, type=
0x00102297=
# (0010,2299) VR=LO, VM= ResponsibleOrganization, type=
0x00102299=
# (0010,4000) VR=LT, VM=1 PatientComments, type=3
0x00104000=
# (0018,1004) VR=LO, VM=l Plate ID, type=
0x00181004=
# (0018,1005) VR=LO, VM= Generator ID, type=
0x00181005=
# (0018,1007) VR=LO, VM= Cassette ID, type=
0x00181007=
# (0018,1008) VR=LO, VM= Gantry ID, type=
0x00181008=
# (0018,1030) VR=LO, VM= Protocol Name, type=
0x00181030=
# (0018,1400) VR=LO, VM= Acquisition Device Processing Description, type=
0x00181400=
# (0018,4000) VR=LT, VM=1 Acquisition Comments, type=
0x00184000=
# (0018,700A) VR=SH, VM= Detector ID, type=
0x0018700A=
# (0018,9424) VR=LT, VM= Acquisition Protocol Description, type=
0x00189424=
# (0018,A003) VR=ST, VM= Contribution Description, type=
0x0018A003=
# (0020,0010) VR=SH, VM= Study ID, type=
0x00200010=
# (0020,3401) VR=CS, VM= Modifying Device ID, type=
0x00203401=
# (0020,3404) VR=LO, VM= Modifying Device Manufacturer, type=
0x00203404=
# (0020,3406) VR=LO, VM= Modified Image Description, type=
0x00203406=
# (0020,4000) VR=LT, VM=1 Image Comments, type=
0x00204000=
# (0020,9158) VR=LT, VM=1 Frame Comments, type=
0x00209158=
# (0028,4000) VR=LT, VM=1 Image Presentation Comments, type=
0x00284000=
# (0032,0012) VR=LO, VM= Study ID Issuer, type=
0x00320012=
# (0032,1020) VR=LO, VM= Scheduled Study Location, type=
0x00321020=
# (0032,1021) VR=AE, VM= Scheduled Study Location AE Title, type=
0x00321021=
# (0032,1030) VR=LO, VM= Reason for Study, type=
0x00321030=
# (0032,1032) VR=PN, VM= Requesting Physician, type=
0x00321032=
# (0032,1060) VR=LO, VM= Requested Procedure Description, type=
0x00321060=
# (0032,4000) VR=LT, VM=1 Study Comments, type=
0x00324000=
# (0038,0010) VR=LO, VM= Admission ID, type=
0x00380010=
# (0038,0011) VR=LO, VM= Issuer of Admission ID, type=
0x00380011=
# (0038,001E) VR=LO, VM= Scheduled Patient Institution Residence, type=
0x0038001E=
# (0038,0020) VR=DA, VM=1 Admitting Date, type=
0x00380020=
# (0038,0021) VR=TM, VM=1 Admitting Time, type=
0x00380021=
# (0038,0040) VR=LO, VM= Discharge Diagnosis Description, type=
0x00380040=
# (0038,0050) VR=LO, VM= Special Needs, type=
0x00380050=
# (0038,0060) VR=LO, VM= Service Episode ID, type=
0x00380060=
# (0038,0061) VR=LO, VM= Issuer of Service Episode ID, type=
0x00380061=
# (0038,0062) VR=LO, VM= Service Episode Description, type=
0x00380062=
# (0038,0300) VR=LO, VM= Current Patient Location, type=
0x00380300=
# (0038,0400) VR=LO, VM= Patient's Institution Residence, type=
0x00380400=
# (0038,0500) VR=LO, VM= Patient State, type=
0x00380500=
# (0038,1234) VR=UN, VM= Referenced Patient Alias Sequence, type=
0x00381234=
# (0038,4000) VR=LT, VM=1 Visit Comments, type=
0x00384000=
# (0040,0001) VR=AE, VM= Scheduled Station AE Title, type=
0x00400001=
# (0040,0002) VR=DA, VM=1 Scheduled Procedure Step Start Date, type=
0x00400002=
# (0040,0003) VR=TM, VM=1 Scheduled Procedure Step Start Time, type=
0x00400003=
# (0040,0004) VR=DA, VM=1 Scheduled Procedure Step End Date, type=
0x00400004=
# (0040,0005) VR=TM, VM=1 Scheduled Procedure Step End Time, type=
0x00400005=
# (0040,0006) VR=PN, VM= Scheduled Performing Physician Name, type=
0x00400006=
# (0040,0007) VR=LO, VM= Scheduled Procedure Step Description, type=
0x00400007=
# (0040,000B) VR=SQ, VM= Scheduled Performing Physician Identification Sequence, type=
0x0040000B=
# (0040,0010) VR=SH, VM= Scheduled Station Name, type=
0x00400010=
# (0040,0011) VR=SH, VM= Scheduled Procedure Step Location, type=
0x00400011=
# (0040,0012) VR=LO, VM= Pre-Medication, type=
0x00400012=
# (0040,0241) VR=AE, VM= Performed Station AE Title, type=
0x00400241=
# (0040,0242) VR=SH, VM= Performed Station Name, type=
0x00400242=
# (0040,0243) VR=SH, VM= Performed Location, type=
0x00400243=
# (0040,0244) VR=DA, VM=1 Performed Procedure Step Start Date, type=
0x00400244=
# (0040,0245) VR=TM, VM=1 Performed Procedure Step Start Time, type=
0x00400245=
# (0040,0248) VR=UN, VM= Performed Station Name Code Sequence, type=
0x00400248=
# (0040,0253) VR=SH, VM= Performed Procedure Step ID, type=
0x00400253=
# (0040,0254) VR=LO, VM= Performed Procedure Step Description, type=
0x00400254=
# (0040,0275) VR=SQ, VM= Request Attributes Sequence, type=
0x00400275=
# (0040,0280) VR=ST, VM=1 Comments on Performed Procedure Step, type=
0x00400280=
# (0040,0555) VR=SQ, VM= Acquisition Context Sequence, type=
0x00400555=
# (0040,1001) VR=SH, VM= Requested Procedure ID, type=
0x00401001=
# (0040,1004) VR=LO, VM= Patient Transport Arrangements, type=
0x00401004=
# (0040,1005) VR=LO, VM= Requested Procedure Location, type=
0x00401005=
# (0040,1010) VR=PN, VM= Names of Intended Recipient of Results, type=
0x00401010=
# (0040,1011) VR=SQ, VM= Intended Recipients of Results Identification Sequence, type=
0x00401011=
# (0040,1101) VR=SQ, VM= Person Identification Code Sequence, type=
0x00401101=
# (0040,1102) VR=ST, VM= Person Address, type=
0x00401102=
# (0040,1103) VR=LO, VM= Person Telephone Numbers, type=
0x00401103=
# (0040,1400) VR=LT, VM=1 Requested Procedure Comments, type=
0x00401400=
# (0040,2001) VR=LO, VM= Reason for Imaging Service Request, type=
0x00402001=
# (0040,2008) VR=PN, VM= Order Entered By, type=
0x00402008=
# (0040,2009) VR=SH, VM= Order Enterer Location, type=
0x00402009=
# (0040,2010) VR=SH, VM= Order Callback Phone Number, type=
0x00402010=
# (0040,2016) VR=LO, VM= Placer Order Number of Imaging Service Request, type=
0x00402016=
# (0040,2017) VR=LO, VM= Filler Order Number of Imaging Service Request, type=
0x00402017=
# (0040,2400) VR=LT, VM=1 Imaging Service Request Comments, type=
0x00402400=
# (0040,3001) VR=LO, VM=1 Confidentiality Constraint on Patient Data Description, type=
0x00403001=
# (0040,4025) VR=SQ, VM= Scheduled Station Name Code Sequence, type=
0x00404025=
# (0040,4027) VR=SQ, VM= Scheduled Station Geographic Location Code Sequence, type=
0x00404027=
# (0040,4030) VR=SQ, VM= Performed Station Geographic Location Code Sequence, type=
0x00404030=
# (0040,4034) VR=SQ, VM= Scheduled Human Performers Sequence, type=
0x00404034=
# (0040,4035) VR=SQ, VM= Actual Human Performers Sequence, type=
0x00404035=
# (0040,4036) VR=LO, VM= Human Performers Organization, type=
0x00404036=
# (0040,4037) VR=PN, VM= Human Performers Name, type=
0x00404037=
# (0040,A027) VR=LO, VM= Verifying Organization, type=
0x0040A027=
# (0040,A073) VR=SQ, VM= Verifying Observer Sequence, type=
0x0040A073=
# (0040,A075) VR=PN, VM= Verifying Observer Name, type=
0x0040A075=
# (0040,A078) VR=SQ, VM= Author Observer Sequence, type=
0x0040A078=
# (0040,A07A) VR=SQ, VM= Participant Sequence, type=
0x0040A07A=
# (0040,A07C) VR=SQ, VM= Custodial Organization Sequence, type=
0x0040A07C=
# (0040,A088) VR=SQ, VM= Verifying Observer Identification Code Sequence, type=
0x0040A088=
# (0040,A123) VR=PN, VM= Person Name, type=
0x0040A123=
# (0040,A730) VR=SQ, VM= Content Sequence, type=
0x0040A730=
# (0070,0001) VR=SQ, VM=1 Graphic Annotation Sequence, type=
0x00700001=
# (0070,0084) VR=PN, VM= Content Creator's Name, type=
0x00700084=
# (0070,0086) VR=SQ, VM= Content Creator's Identification Code Sequence, type=
0x00700086=
# (0088,0200) VR=SQ, VM= Icon Image Sequence (see Note 12), type=
0x00880200=
# (0088,0904) VR=LO, VM= Topic Title, type=
0x00880904=
# (0088,0906) VR=ST, VM= Topic Subject, type=
0x00880906=
# (0088,0910) VR=LO, VM= Topic Author, type=
0x00880910=
# (0088,0912) VR=LO, VM= Topic Key Words, type=
0x00880912=
# (0400,0100) VR=UI, VM=1 DigitalSignatureUID, type=
0x04000100=
# (0400,0402) VR=SQ, VM= Referenced Digital Signature Sequence, type=
0x04000402=
# (0400,0403) VR=SQ, VM= Referenced SOP Instance MAC Sequence, type=
0x04000403=
# (0400,0404) VR=OB, VM= MAC, type=
0x04000404=
# (0400,0550) VR=SQ, VM= Modified Attributes Sequence, type=
0x04000550=
# (0400,0561) VR=SQ, VM= Original Attributes Sequence, type=
0x04000561=
# (2030,0020) VR=LO, VM=1 Text String, type=
0x20300020=
# (300E,0008) VR=PN, VM= Reviewer Name, type=
0x300E0008=
# (4000,0010) VR=LT, VM= Arbitrary, type=
0x40000010=
# (4000,4000) VR=LT, VM=1 Text Comments, type=
0x40004000=
# (4008,0042) VR=LO, VM= Results ID Issuer, type=
0x40080042=
# (4008,0102) VR=PN, VM= Interpretation Recorder, type=
0x40080102=
# (4008,010A) VR=PN, VM= Interpretation Transcriber, type=
0x4008010A=
# (4008,010B) VR=ST, VM=1 Interpretation Text, type=
0x4008010B=
# (4008,010C) VR=PN, VM= Interpretation Author, type=
0x4008010C=
# (4008,0111) VR=SQ, VM= Interpretation Approver Sequence, type=
0x40080111=
# (4008,0114) VR=PN, VM= Physician Approving Interpretation, type=
0x40080114=
# (4008,0115) VR=LT, VM= Interpretation Diagnosis Description, type=
0x40080115=
# (4008,0118) VR=SQ, VM= Results Distribution List Sequence, type=
0x40080118=
# (4008,0119) VR=PN, VM= Distribution Name, type=
0x40080119=
# (4008,011A) VR=LO, VM= Distribution Address, type=
0x4008011A=
# (4008,0202) VR=LO, VM= Interpretation ID Issuer, type=
0x40080202=
# (4008,0300) VR=ST, VM= Impressions, type=
0x40080300=
# (4008,4000) VR=ST, VM=1 Results Comments, type=
0x40084000=
# (0008,0032) VR=TM, VM=1 Acquisition Time, type=
0x00080032=
# (0010,2203) VR=CS, VM=1 PatientSexNeutered, type=
0x00102203=
# (0008,1010) VR=LO, VM=1 Station Name, type=
0x00081010=
# (0008,0090) VR=PN, VM=0 ReferringPhysicianName, type=
0x00080090=
# (0032,1033) VR=LO, VM=1 Requesting Service, type=
0x00321033=

## Sup 142 Basic Profile
#UIDs
Tag | Description | value | comment
0x00001001 | Requested SOP Instance UID
0x00020003 | MediaStorageSOPInstanceUID
0x00041511 | ReferencedSOPInstanceUIDInFile
0x00080014 | InstanceCreatorUID
0x00080018 | SOPInstanceUID
0x00080058 | Failed SOP Instance UID List
0x0008010D | ContextGroupExtensionCreatorUID
0x00081155 | ReferencedSOPInstanceUID
0x00081195 | TransactionUID
0x00083010 | IrradiationEventUID
0x00089123 | CreatorVersionUID
0x00181002 | Device UID
0x0020000D | StudyInstanceUID
0x0020000E | SeriesInstanceUID
0x00200052 | FrameOfReferenceUID
0x00200200 | SynchronizationFrameOfReferenceUID
0x00209161 | ConcatenationUID
0x00209164 | DimensionOrganizationUID
0x00281199 | PaletteColorTableUID
0x00281214 | LargePaletteColorLookupTableUID
0x00404023 | Referenced General Purpose Scheduled Procedure Step Transaction UID
0x0040A124 | UID
0x0040DB0C | Template Extension Organization UID
0x0040DB0D | Template Extension Creator UID
0x0070031A | FiducialUID
0x00880140 | StorageMediaFileSetUID
0x30060024 | ReferencedFrameOfReferenceUID
0x300600C2 | RelatedFrameOfReferenceUID
0x300A0013 | DoseReferenceUID
# DICOM tags > Ox7FFFFFFF
Tag | Description | value | comment
0xFFFAFFFA | Digital Signatures Sequence |  | #######################################################################
0xFFFCFFFC | Data Set Trailing Padding |  | # DICOM tags > Ox7FFFFFFF
#######################################################################
# putString(int, VR, string) with tag (group, element) as 8 byte
# integer: ggggeeee
#
# But Integer range = - 2 147 483 648 to 2 147 483 647 (= Ox7FFFFFFF)
# You can't use this function for the hexadecimals between 0x80000000
# and 0xFFFFFFFF ...
#
# If there is a typo in the definition of the function and they meant
# "8 digits integer" (as 8 byte integer is impossible)
# we couln't go above 0x05F5E0FF (= 99999999)
#
# But we already tested 0x40084000 (= 1 074 282 496 : 10 digits) and it is working
#######################################################################
# xx tags
Tag | Description | value | comment
0x50xxxxxx | Curve Data
0x60xx3000 | Overlay Data
0x60xx4000 | Overlay Comments
# tags kept by OFSEP
Tag | Description | value | comment
0x00080022 | Acquisition Date
0x00180010 | Contrast Bolus Agent
0x00181000 | Device Serial Number
0x00100040 | Patientʼs Sex
0x00101030 | Patientʼs Weight
0x00321070 | Requested Contrast Agent
0x00080021 | Series Date
0x0008103E | Series Description
0x00080031 | Series Time
0x00080020 | Study Date
# Private attributes
0xgggg,eeee | (gggg,eeee) where gggg is odd