## List of test cases
Story ID | Story Name
S001 | Connecting to Shanoir from ShUp
S002 | Import files for new/existing subject in NI/OF autoimport disabled
S003 | Import files for new/existing subject in NI/OF autoimport enabled
S004 | Verify subject creation
S005 | Verify subject creation in study
S006 | Verify import

## Test steps
Story ID | Story Name | Step | Action | Acceptance Criterion | Status
S001 | Connecting to Shanoir from ShUp | 1 | Configure file shanoir_server.properties | File configured
|  | 2 | Open ShUp and connect to Shanoir | User connected
S002-NI-01 | Import files for existing subject NI autoimport.enable=false | 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Disabled
|  | 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
|  | 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
|  | 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Thi subject must exist already in Shanoir. Must have exactly the same: First Name, Last name, Birth Date. Then click "Retrieve and Send" button. | The dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
|  | 5 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader". A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file.
|  | 6 | Go to Shanoir to finish Import. In Manu Import-> From Shanoir Uploader click on the ID of the import | Import window opens
|  | 7 | Choose study, study card, examination, examinator and finish import | Subject is already chosen. Import is finished properly.
S002-OF-01 | Import files for existing subject OFSEP autoimport.enable=false | 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Disabled
|  | 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
|  | 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
|  | 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Thi subject must exist already in Shanoir. Must have exactly the same: First Name, Birth name, Birth Date. Then click "Retrieve and Send" button. | The dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
|  | 5 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader". A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file.
|  | 6 | Go to Shanoir to finish Import. In Manu Import-> From Shanoir Uploader click on the ID of the import | Import window opens
|  | 7 | Choose study, study card, examination, examinator and finish import | Subject is already chosen. Import is finished properly.
S002-NI-02 | Import files for new subject NI autoimport.enable=false | 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Disabled
|  | 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
|  | 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
|  | 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Thi subject mustn't exist (No subject with the same First Name, Last Name, Birth Date) in Shanoir. Then click "Retrieve and Send" button. | The dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
|  | 5 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader". A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file.
|  | 6 | Go to Shanoir to finish Import. In Manu Import-> From Shanoir Uploader click on the ID of the import | Import window opens
|  | 7 | Choose study, study card, subject, examination, examinator and finish import | Subject isn't chosen. User is asked to choose an existing or new one. Import is finished properly.
S002-OF-02 | Import files for new subject OFSEP autoimport.enable=false | 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Disabled
|  | 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
|  | 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
|  | 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Thi subject mustn't exist (No subject with the same First Name, Last Name, Birth Date) in Shanoir. Then click "Retrieve and Send" button. | The dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
|  | 5 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader". A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file.
|  | 6 | Go to Shanoir to finish Import. In Manu Import-> From Shanoir Uploader click on the ID of the import | Import window opens
|  | 7 | Choose study, study card, subject, examination, examinator and finish import | Subject isn't chosen. User is asked to choose an existing or new one. Import is finished properly.
S003-NI-01 | Import files for existing subject NI autoimport.enable=true | 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Disabled
|  | 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
|  | 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
|  | 4 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Then click "Retrieve and Send" button. This subject must already exist in Shanoir (one with the same First Name, Last Name and Birth date values) | The "pre-import dialog" should open, and the subject should be already selected and the following fields should be greyed out (Shanoir subject, Image object category, Language Hemispheric Dominance, Manual Hemispheric Dominance, Personal comments.
|  | 5 | The button "export and import" must be disabled | The button export and import must disable
|  | 6 | Click on the Study Card combo box | The list must be empty
|  | 7 | In the study list, select the study xxxx | The study is selected and the study card list is updated
|  | 8 | In the study card list, select a study card | The study card is selected and the "export and import" button must be enabled
|  | 9 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
|  | 10 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader". A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file. A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file. Make sure the upload-job.xml contains a preImportdata tag with the correct study and studyCard
S003-OF-01 | Import files for existing subject OFSEP autoimport.enable=true | 1 | Start the shanoir Uploader | Shanoir Uploader is started, the dialog "ShanoirUploader" should be visible and on the top right of the window, you should see "Shanoir Authentication Disabled
|  | 2 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
|  | 3 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
|  |  | Select a serie and complete the birthname by clicking on the button at the right of Last name. Then click "Retrieve and Send" button. This subject must already exist in Shanoir (one with the same First Name, Birth Name and Birth date values) | The "pre-import dialog" should open, and the subject should be already selected and the following fields should be greyed out (Shanoir subject, Image object category, Language Hemispheric Dominance, Manual Hemispheric Dominance, Personal comments.
|  |  | The button "export and import" must be disabled | The button export and import must disable
|  |  | Click on the Study Card combo box | The list must be empty
|  |  | In the study list, select the study xxxx | The study is selected and the study card list is updated
|  | 4 | In the study card list, select a study card | The study card is selected and the "export and import" button must be enabled
|  | 5 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
|  | 6 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader". A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file. A new Folder must be created under .su\workFolder . Make sure this folder contains the upload-job.xml file. Make sure the upload-job.xml contains a preImportdata tag with the correct study and studyCard
S003-NI-02 | Import files for new subject NI autoimport.enable=true | 1 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
|  | 2 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
|  | 3 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Change the First Name to some other value. Then click "Retrieve and Send" button. This subject mustn't already exist in Shanoir (one with the same Last Name, Birth Name and Birth date values) | The "pre import dialog" should open, and none of the field should be greyed out.
|  | 4 | The button "export and import" must be disabled | The button export and import must disable
|  | 5 | Click on the Study Card combo box | The list must be empty
|  | 6 | In the study list, select the study xxxx | The study is selected and the study card list is updated
|  | 7 | In the study card list, select a study card | The study card is selected
|  | 8 | in the Subject Name field, type a subject name XXXX | The subject name is set
|  | 9 | Click on Imaged Object Category | The following values should be available : "Anatomical piece", "Human cadaver","Living human being","Phantom"
|  | 10 | Select the Imaged Object Category : "Living human being" | The Image Object Category is selected and the "export and import" button must be enabled
|  | 11 | Set both language and manual hemispheric dominance to Right | The value is set in both fields
|  | 12 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
|  | 13 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader"
|  | 14 | Log on the shanoir old server | make sure the subject created under Shanoir uploader is available under Shanoir old.
S003-OF-02 | Import files for new subject OFSEP autoimport.enable=true | 1 | Click on : file > Open Dicom File from CD/DVD | A file browser must open.
|  | 2 | Select a Dicom Sample directory and click open | Several series should be visible on the top right frame.
|  | 3 | Select a serie and complete the birthname by clicking on the button at the right of Last name. Change the First Name to some other value Then click "Retrieve and Send" button. This subject mustn't already exist in Shanoir (one with the same First Name, Birth Name and Birth date values) | The "pre import dialog" should open, and the subject should not be already selected. The following field should be greyed out : "Shanoir Subject". The subject ID doesn't exist in Shanoir - this is a new one created automatically (verify last incremental number for this center)
|  | 4 | The button "export and import" must be disabled | The button export and import must disable
|  | 5 | Click on the Study Card combo box | The list must be empty
|  | 6 | In the study list, select the study xxxx | The study is selected and the study card list is updated
|  | 7 | In the study card list, select a study card | The study card is selected.
|  | 8 | Click on Imaged Object Category | The following values should be available : "Anatomical piece", "Human cadaver","Living human being","Phantom"
|  | 9 | Select the Imaged Object Category : "Living human being" | The Image Object Category is selected and the "export and import" button must be enabled
|  | 10 | Set both language and manual hemispheric dominance to Right | The value is set in both fields
|  | 11 | Click on "export and import" button | The preimport should close itself and a dialog "Progress Dialog" should be visible. After a few seconds, the button "OK" should be enabled
|  | 12 | Click "OK" Button | You should back to the initial dialog "ShanoirUploader"
|  | 13 | Log on the shanoir old server | make sure the subject created under Shanoir uploader is available under Shanoir old.
S004-01 | Verify subject creation | 1 | Go to Shanoir website | User is connected
|  | 2 | Go to Studies or My Shanoir -> My studies and choose concerned study | Study is available
|  | 3 | Verify the list of subjects | New subject created in SU is available and data is linked
S005 | Verify subject creation in study | 1 | Go to Shanoir website | User is connected
|  | 2 | Go to Studies or My Shanoir -> My studies and choose concerned study | Study is available
|  | 3 | Verify the list of subjects. This subject existed already but wasn't linked to the study. | Subject is linked to at least 2 studies.
S006 | Verify import | 1 | Go to Shanoir website | User is connected
|  | 2 | Go to Dataset od My Shanoit -> View Datasets | Table appears with dataset
|  | 3 | Search for the specific dataset (imported) | The dataset is present and attatche dto the right subject
Note on C1: Aneta Morawin: Number of step. For alternate flows: step that differs from the referenced step in the main flow